## Corolla
Battery-Under-Load Tester
Date | 2006-03-17
Auth | Barry Hansen |  |  | coilgun@oz.net
Purpose | Compare two old car batteries
Measure performance under load
Then choose the best battery for coilgun testing
Resistor | 0.02 | ohms | for sensing current
Costco Battery from 1990 Corolla
Info: | 800 | cranking amps at 32F
| 640 | cold cranking amps
| 1998 | year of manufacture
| 35 | group size
This is an old battery, replaced due to unreliability.
(hh:mm) | (volt) | (mV) |  | (h:mm) | (amp) | (volt) | (ohms) | (minutes) | (amp-hours) | (amp-hours)
Time | Voltage | I-sense |  | Elapsed | I-Costco | Corolla Volts | Resistance | Interval | Amp-Hour | Total A-H
9:28 | 12.24 | 78.6 |  | 0:00 | 3.93 | 12.24 | 3.1145 | 0 | 0 | 0
9:29 | 12.05 | 78.3 |  | 0:01 | 3.915 | 12.05 | 3.0779 | 1 | 0.06525 | 0.06525
9:31 | 12.07 | 78 |  | 0:03 | 3.9 | 12.07 | 3.0949 | 2 | 0.13025 | 0.1955
9:34 | 12.08 | 78 |  | 0:06 | 3.9 | 12.08 | 3.0974 | 3 | 0.195 | 0.3905
9:39 | 12.07 | 77.8 |  | 0:11 | 3.89 | 12.07 | 3.1028 | 5 | 0.32458 | 0.71508
9:43 | 12.05 | 77.6 |  | 0:15 | 3.88 | 12.05 | 3.1057 | 4 | 0.259 | 0.97408
9:47 | 12.02 | 77.5 |  | 0:19 | 3.875 | 12.02 | 3.1019 | 4 | 0.2585 | 1.2326
9:52 | 11.95 | 77.3 |  | 0:24 | 3.865 | 11.95 | 3.0918 | 5 | 0.3225 | 1.5551
9:55 | 11.91 | 77.1 |  | 0:27 | 3.855 | 11.91 | 3.0895 | 3 | 0.193 | 1.7481
9:59 | 11.86 | 76.9 |  | 0:31 | 3.845 | 11.86 | 3.0845 | 4 | 0.25667 | 2.0048
10:04 | 11.8 | 76.6 |  | 0:36 | 3.83 | 11.8 | 3.0809 | 5 | 0.31979 | 2.3245
10:08 | 11.74 | 76.4 |  | 0:40 | 3.82 | 11.74 | 3.0733 | 4 | 0.255 | 2.5795
10:15 | 11.53 | 75.7 |  | 0:47 | 3.785 | 11.53 | 3.0462 | 7 | 0.44362 | 3.0232
10:20 | 11.04 | 73.7 |  | 0:52 | 3.685 | 11.04 | 2.9959 | 5 | 0.31125 | 3.3344
10:25 | 10.62 | 72.2 |  | 0:57 | 3.61 | 10.62 | 2.9418 | 5 | 0.30396 | 3.6384
10:29 | 10.32 | 71.2 |  | 1:01 | 3.56 | 10.32 | 2.8989 | 4 | 0.239 | 3.8774
10:32 | 10.07 | 70.3 |  | 1:04 | 3.515 | 10.07 | 2.8649 | 3 | 0.17688 | 4.0542
10:35 | 9.81 | 69.3 |  | 1:07 | 3.465 | 9.81 | 2.8312 | 3 | 0.1745 | 4.2287
10:38 | 9.82 | 69.3 |  | 1:10 | 3.465 | 9.82 | 2.8341 | 3 | 0.17325 | 4.402
10:40 | 9.92 | 69.7 |  | 1:12 | 3.485 | 9.92 | 2.8465 | 2 | 0.11583 | 4.5178
10:45 | 9.92 | 69.7 |  | 1:17 | 3.485 | 9.92 | 2.8465 | 5 | 0.29042 | 4.8083
10:47 | 9.92 | 69.7 |  | 1:19 | 3.485 | 9.92 | 2.8465 | 2 | 0.11617 | 4.9244
10:51 | 9.88 | 69.5 |  | 1:23 | 3.475 | 9.88 | 2.8432 | 4 | 0.232 | 5.1564
10:54 | 9.87 | 69.5 |  | 1:26 | 3.475 | 9.87 | 2.8403 | 3 | 0.17375 | 5.3302
10:57 | 9.86 | 69.5 |  | 1:29 | 3.475 | 9.86 | 2.8374 | 3 | 0.17375 | 5.5039
11:00 | 9.85 | 69.5 |  | 1:32 | 3.475 | 9.85 | 2.8345 | 3 | 0.17375 | 5.6777
11:07 | 9.8 | 69.2 |  | 1:39 | 3.46 | 9.8 | 2.8324 | 7 | 0.40454 | 6.0822
11:13 | 7.84 | 61.5 |  | 1:45 | 3.075 | 7.84 | 2.5496 | 6 | 0.32675 | 6.409
11:15 | 7.89 | 61.8 |  | 1:47 | 3.09 | 7.89 | 2.5534 | 2 | 0.10275 | 6.5117
11:18 | 7.92 | 61.9 |  | 1:50 | 3.095 | 7.92 | 2.559 | 3 | 0.15462 | 6.6663
11:22 | 7.97 | 62 |  | 1:54 | 3.1 | 7.97 | 2.571 | 4 | 0.2065 | 6.8728
11:38 | 7.98 | 62.1 |  | 2:10 | 3.105 | 7.98 | 2.57 | 16 | 0.82733 | 7.7002
11:42 | 7.96 | 62.1 |  | 2:14 | 3.105 | 7.96 | 2.5636 | 4 | 0.207 | 7.9072
11:49 | 8.01 | 62.2 |  | 2:21 | 3.11 | 8.01 | 2.5756 | 7 | 0.36254 | 8.2697
11:53 | 8.09 | 62.1 |  | 2:25 | 3.105 | 8.09 | 2.6055 | 4 | 0.20717 | 8.4769
11:55 | 7.97 | 62.1 |  | 2:27 | 3.105 | 7.97 | 2.5668 | 2 | 0.1035 | 8.5804
12:01 | 7.96 | 62 |  | 2:33 | 3.1 | 7.96 | 2.5677 | 6 | 0.31025 | 8.8906
12:12 | 7.94 | 62 |  | 2:44 | 3.1 | 7.94 | 2.5613 | 11 | 0.56833 | 9.459
12:16 | 7.92 | 61.9 |  | 2:48 | 3.095 | 7.92 | 2.559 | 4 | 0.2065 | 9.6655
12:22 | 7.93 | 61.9 |  | 2:54 | 3.095 | 7.93 | 2.5622 | 6 | 0.3095 | 9.975
12:31 | 7.88 | 61.7 |  | 3:03 | 3.085 | 7.88 | 2.5543 | 9 | 0.4635 | 10.4385
12:36 | 7.82 | 61.4 |  | 3:08 | 3.07 | 7.82 | 2.5472 | 5 | 0.25646 | 10.6949
12:48 | 7.74 | 61.1 |  | 3:20 | 3.055 | 7.74 | 2.5336 | 12 | 0.6125 | 11.3074
12:54 | 7.7 | 60.9 |  | 3:26 | 3.045 | 7.7 | 2.5287 | 6 | 0.305 | 11.6124
13:01 | 7.64 | 60.6 |  | 3:33 | 3.03 | 7.64 | 2.5215 | 7 | 0.35437 | 11.9668
13:05 | 7.55 | 60.3 |  | 3:37 | 3.015 | 7.55 | 2.5041 | 4 | 0.2015 | 12.1683
13:10 | 7.32 | 59.3 |  | 3:42 | 2.965 | 7.32 | 2.4688 | 5 | 0.24917 | 12.4175
13:12 | 7.22 | 58.9 |  | 3:44 | 2.945 | 7.22 | 2.4516 | 2 | 0.0985 | 12.516
13:15 | 7.13 | 58.5 |  | 3:47 | 2.925 | 7.13 | 2.4376 | 3 | 0.14675 | 12.6627
13:25 | 6.87 | 58 |  | 3:57 | 2.9 | 6.87 | 2.369 | 10 | 0.48542 | 13.1481
13:29 | 6.76 | 56.9 |  | 4:01 | 2.845 | 6.76 | 2.3761 | 4 | 0.1915 | 13.3396
13:39 | 6.31 | 54.9 |  | 4:11 | 2.745 | 6.31 | 2.2987 | 10 | 0.46583 | 13.8055
13:42 | 6.17 | 54.3 |  | 4:14 | 2.715 | 6.17 | 2.2726 | 3 | 0.1365 | 13.942
14:51 | 3.2 | 39.1 |  | 5:23 | 1.955 | 3.2 | 1.6368 | 9 | 0.35025 | 14.2922
Exide Battery Found in Weeds
Info: | 630 | cranking amps at 32F
| 525 | cold cranking amps
| 2004 | year of manufacture
| 6 | years newer than Corolla battery
| 24-60 | type
| 24 | group size
(hh:mm) | (volt) | (mV) |  | (h:mm) | (amp) | (volt) | (ohms) | (minutes) | (amp-hours) | (amp-hours)
Time | Battery | I-sense |  | Elapsed | Current | Voltage | Resistance | Interval | Power | Total A-H
4:06 | 12.63 | 79.2 |  | 0:00 | 3.96 | 12.63 | 3.1894 | 0 | 0 | 0
4:07 | 12.47 | 78.8 |  | 0:01 | 3.94 | 12.47 | 3.165 | 1 | 0.065833 | 0.065833
4:10 | 12.43 | 78.6 |  | 0:04 | 3.93 | 12.43 | 3.1628 | 3 | 0.19675 | 0.26258
4:17 | 12.4 | 78.5 |  | 0:11 | 3.925 | 12.4 | 3.1592 | 7 | 0.45821 | 0.72079
4:23 | 12.38 | 78.3 |  | 0:17 | 3.915 | 12.38 | 3.1622 | 6 | 0.392 | 1.1128
4:34 | 12.35 | 78.2 |  | 0:28 | 3.91 | 12.35 | 3.1586 | 11 | 0.71729 | 1.8301
4:44 | 12.32 | 78.1 |  | 0:38 | 3.905 | 12.32 | 3.1549 | 10 | 0.65125 | 2.4813
4:48 | 12.31 | 78.1 |  | 0:42 | 3.905 | 12.31 | 3.1524 | 4 | 0.26033 | 2.7417
4:56 | 12.29 | 78 |  | 0:50 | 3.9 | 12.29 | 3.1513 | 8 | 0.52033 | 3.262
5:03 | 12.27 | 77.9 |  | 0:57 | 3.895 | 12.27 | 3.1502 | 7 | 0.45471 | 3.7167
5:11 | 12.25 | 77.8 |  | 1:05 | 3.89 | 12.25 | 3.1491 | 8 | 0.519 | 4.2357
5:20 | 12.23 | 77.8 |  | 1:14 | 3.89 | 12.23 | 3.144 | 9 | 0.5835 | 4.8192
5:38 | 12.2 | 77.6 |  | 1:32 | 3.88 | 12.2 | 3.1443 | 18 | 1.1655 | 5.9847
5:50 | 12.18 | 77.6 |  | 1:44 | 3.88 | 12.18 | 3.1392 | 12 | 0.776 | 6.7607
6:03 | 12.17 | 77.5 |  | 1:57 | 3.875 | 12.17 | 3.1406 | 13 | 0.84012 | 7.6008
6:09 | 12.16 | 77.4 |  | 2:03 | 3.87 | 12.16 | 3.1421 | 6 | 0.38725 | 7.9881
6:19 | 12.14 | 77.4 |  | 2:13 | 3.87 | 12.14 | 3.137 | 10 | 0.645 | 8.6331
6:34 | 12.12 | 77.3 |  | 2:28 | 3.865 | 12.12 | 3.1358 | 15 | 0.96688 | 9.6
6:45 | 12.11 | 77.3 |  | 2:39 | 3.865 | 12.11 | 3.1332 | 11 | 0.70858 | 10.3085
7:13 | 12.07 | 77.1 |  | 3:07 | 3.855 | 12.07 | 3.131 | 28 | 1.8013 | 12.1099
7:25 | 12.05 | 77 |  | 3:19 | 3.85 | 12.05 | 3.1299 | 12 | 0.7705 | 12.8804
7:42 | 12.03 | 77 |  | 3:36 | 3.85 | 12.03 | 3.1247 | 17 | 1.0908 | 13.9712
8:00 | 12.01 | 76.9 |  | 3:54 | 3.845 | 12.01 | 3.1235 | 18 | 1.1542 | 15.1255
8:19 | 11.99 | 76.8 |  | 4:13 | 3.84 | 11.99 | 3.1224 | 19 | 1.2168 | 16.3422
8:45 | 11.96 | 76.7 |  | 4:39 | 3.835 | 11.96 | 3.1186 | 26 | 1.6629 | 18.0052
9:26 | 11.9 | 76.4 |  | 5:20 | 3.82 | 11.9 | 3.1152 | 41 | 2.6155 | 20.6206
10:01 | 11.85 | 76.3 |  | 5:55 | 3.815 | 11.85 | 3.1062 | 35 | 2.2269 | 22.8475
17:44 | 0.11 | 8.5 |  | 13:38 | 0.425 | 0.11 | 0.25882 | 43 | 1.5193 | 24.3668